## criteria
Parameters / criteria
Chemical parameters | value | measure | N.A. | Target*
P-total |  | mg/l |  | <0,2
N-total |  | mg/l |  | <4.5
NH4 (ammonium) |  | mg/l |  | <2
BOD |  | mg/l |  | <5
COD |  | mg/l |  | <50
Undissolved particles |  | mg/l |  | <30
NO3/NO2 |  | mg/l
E.coli (indicator) or total pathogenes (related to bathing water quality) |  | #/ml |  | <1800
Micro's (heavy metals) |  | µg/l
Micro's (pharmaceuticals) |  | µg/l
BTEX (benthene etc) |  | µg/l
pH (related to waterbody) |  |  |  | 6 - 9
Other parameters
Volume out/in (= % water re-use) |  | %
added chemicals (type and dosing) |  | GER value
Sludge |  | m3/year
Energy demand / recovery (- sign = energy production) |  | kWh
Resource recovery (describe nutrients, metals, micro's) |  | %
Investment & maintenance
Price incl. VAT per household (Standard price) |  | € |  | <10.000
Costs yearly maintenance |  | €
Fool proof (no handling of inhabitant needed) |  | yes/no
Environmental iintegration, odor |  | description
Basic sensoring (signaling of functioning; alarm) |  | yes/no
Extended sensoring (output measurement) |  | description
Additional information
References (links to YouTube)
Legenda |  | = optional
* Target is mean from Apr - Sep. Particular samples may have a maximum of twice the value
Note 1: Please fill in the mean values of your test report. If a solution will not discharge any chemicals
(water neutral home) then fill in zero.
Note 2: In case of sensoring, please indicate the parameters and range you can measure.
Note 3: References to installed demo's or installations and/or a pitch in a short YouTube presentation
might help to envision your contribution.